{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":66,"n_cols":7,"rows_kept":66,"merged":[[0,0,0,6]],"flags":["formulas_cached_only"]}
["2023年需检测射线装置和放射工作场所列表"]
["序号","装置名称","规格型号","生产厂家","设备编号","主要 参数","场所"]
[1,"数字化医用X射线摄影系统","Vx3733-CWS","锐珂",23029,"150kV  630mA","本部放射一室"]
[2,"骨密度仪","Discovery","HOLOGIC",89040,"160kV  25mA","本部放射三室"]
[3,"数字化医用X射线摄影系统","Vx3733-SYS","锐珂","Sc7171","120kV  200mA","本部放射四室"]
[4,"X射线诊断设备（胃肠机）","Luminos Fusion","西门子",40057,"150kV  40mA","本部胃肠造影室"]
[5,"数字乳腺X射线摄影系统","Selenia Dimensions","Hologic","SDM171400153","35kV  200mA","综合楼六层乳腺钼靶照相室"]
[6,"数字化医用X射线摄影系统","uDR 760i","上海联影医疗科技股份有限公司",172024,"150kV 1000mA","外科楼七层放射科DR室"]
[7,"数字化医用X射线摄影系统（床头机）","DRXR-1","锐珂",800122,"150kV  500mA","本部放射科（移动床旁照相机2）"]
[8,"移动式摄影X射线机","DRX-Revolution","锐珂",800648,"150kV 400mA","本部放射科（移动床旁照相机3）"]
[9,"移动式摄影X射线机","DRX-Revolution","锐珂",800653,"150kV 400mA","本部放射科（移动床旁照相机4）"]
[10,"医用CT机","Brightspeed-16","GE","BSAE9041CT","120kV  440mA","本部CT一室"]
[11,"全身X射线计算机断层扫描系统(CT)","Discovery CT","GE","440905cn8","120kV  440mA","本部CT二室"]
[12,"医用CT机","Aquilion One","东芝","2EB1112274","120kV  580mA","本部CT四室"]
[13,"X射线计算机体层摄影设备(CT）","SOMATOM Force","西门子",76453,"150kV  1300mA","本部CT五室"]
[14,"X射线计算机断层摄影设备(CT)","Aquilion TSX-101A","东芝","2AA17Y2295","120kV  500mA","本部外科楼一楼CT室"]
[15,"血管造影机","Artis Zeefloor","西门子",135479,"150kV  1250mA","本部导管一室"]
[16,"医用血管造影X射线机","IGS5-2","GE",4995373,"125kV  1000mA","本部导管二室"]
[17,"血管造影机","Siemens/Aitis-DFC","西门子",35381,"150kV  1250mA","本部导管三室"]
[18,"全数字化平板血管造影机","Artis Zee Ⅲ floor","西门子",100271,"125kV  1000mA","本部导管四室"]
[19,"数字减影血管造影机（DSA）","Artis Zee floor","西门子",136577,"150kV 1250mA","本部导管五室"]
[20,"SPEC-CT","infinia vc hawkeye4","GE",18523,"5kVA 30A","ECT一室"]
[21,"正电子发射断层及X射线计算机体层摄影成像系统","Discovery MI","GE","COL151900006PT","140kV 600mA","PET-CT室"]
[22,"后装机","RL-HZJ18","天津荣力",44870,"220V  300V/A","后装机治疗室"]
[23,"C型臂X射线机","DG331B1","华东",61203016,"110kV  80mA","后装机治疗室"]
[24,"X射线计算机体层摄影设备","Brilliance CT BigBore","飞利浦",76023,"140kV  660mA","模拟定位室"]
[25,"医用电子加速器","CLINAC CX","瓦里安公司","CX5411","10MV","直线加速器一室"]
[26,"医用电子加速器","Elekta Synergy","医科达",154675,"10MV","直线加速器二室"]
[27,"多功能X射线机","ADR-1000A","东芝",3302714,"120kV  440mA","普外窥镜室"]
[28,"口腔X射线数字化体层摄影设备","Pan exam Plus","卡瓦","KE1402432","90kV  16mA","口腔全景室"]
[29,"口腔X射线计算机体层摄影设备","Kavo 3DeXam","卡瓦","ICU082433","120kV  7mA","口腔CT室"]
[30,"移动式C形臂X射线机","Brivo OEC 715","通用","B2SS1800079","110kV   20mA","日间手术室(一室)"]
[31,"医用血管造影X射线机","INFX-9000c","东芝","C5A1642002","125kV 1000mA","外科楼放射介入室"]
[32,"移动式C型臂X射线机","OEC Elite CFDx","通用","B7SB2000012","120kV  150mA","综合楼消化窥镜ERCP室"]
[33,"X射线计算机体层摄影设备","Alexion TSX-032A","东芝","1SA1392268","135kV  300mA","发热门诊CT室"]
[34,"数字化医用X射线摄影系统","DRX-Evoulution","美国锐珂",8033866,"150kV 1000mA","西院区放射科"]
[35,"移动式C形臂X射线机","ARCADIS Varic","西门子",17899,"110kV  23mA","西院区麻醉科手术二室"]
[36,"血管造影X射线系统","Allura Xper FD20","飞利浦",1736,"125kV 1000mA","西院区麻醉科"]
[37,"X射线计算机体层摄影设备","SOMATOM Definition AS","西门子",92456,"140kV 600mA","西院区CT一室"]
[38,"医用CT机","Aquilion PRIME(TSX-302)","东芝","IEA1372199","135kV 600mA","西院区CT二室"]
[39,"X射线计算机体层摄影设备（128排及以上螺旋CT）","Revolution Apex","GE","REV2C2200003CN","140kV 1300mA","西院区CT三室"]
[40,"血管造影X射线机","Innova IGS 5"," GE Healthcare","M4-22-008","125kV 1000mA","西院区门诊楼三层放射介入导管2室"]
[41,"医用诊断X射线机","DRF-4型","万东","116 Y20-375-6-1","150kV 1000mA","大化分院照相室"]
[42,"箱式X射线机","AKHX-50/200B","深圳艾克瑞",111006,"125kV 400mA","大化分院体检车（北环）"]
[43,"医用诊断X射线透视摄影系统","Populus So（H4）-2","日立","7C10009119","150kV 630mA","儿科楼胃肠室"]
[44,"数字化医用X射线摄影系统","Q-RAD","锐珂","QRAD-16N-0601","150kV 800mA","儿科楼DR室"]
[45,"X射线计算机体层摄影设备","MX 16-slice","飞利浦",202293,"140kV 420mA","儿科楼CT室"]
[46,"医用X射线数字摄影系统","X2200","加拿大","12DR030184","150kV  630mA","照相一室（南院区）"]
[47,"X射线计算机体层摄影设备","Revolution Advance","航卫通用电气医疗系统有限公司","CBDLG2200017HM","140kV 350mA","南院区一层东北角放射科CT室"]
[48,"X射线计算机体层摄影设备（62排CT）","SOMATOM go.Fit","上海西门子医疗器械有限公司",11061788,"140kV 625mA","体检中心负一层CT检查室"]
[49,"数字化医用X射线摄影系统","Q-RAD","美国锐珂","QRAD-15N-0820","150kV  800mA","体检中心(照相一室)"]
[50,"数字化医用X射线摄影系统","Definium6000","GE","R3S15092","150kV  100mA","体检中心(照相二室)"]
[51,"医用X线摄影系统","VR","飞利浦",10000453,"150kV  800mA","康养基地贵宾园一层DR室"]
[52,"X射线计算机体层摄影设备","MX16-slice","飞利浦",202324,"140kV 420mA","康养基地贵宾园一层CT室"]
[53,"移动式C型臂X射线机","BrivoOEC865","GE","B4S15028","110kV 20mA","手术二室（麻醉一科）"]
[54,"移动式C型臂X射线机","OEC ONE","北京通用电气","BB6SV2100009HL","110kV 22.7mA","手术三室（麻醉一科）"]
[55,"移动式G型臂X射线机","BIPLANAR 500e","瑞典斯维麦克",5287,"110kV 8mA","手术四室（麻醉一科）"]
[56,"移动式C型臂X射线机","OEC Fluorostar7900 Compact D","GE","79-C5171D","110kV 20mA","手术五室（麻醉一科）"]
[57,"移动式C型臂X射线机","Everview 7500pro","GE","123650HL4","110kV 20mA","手术一室（麻醉一科）"]
[58,"数字化医用X射线摄影系统","Q-RAD","锐科","QRAD-16N-0567","150kV  800mA","眼科医院二层放射科"]
[59,"医用X射线摄像系统","SZ-9","华润万东","1451-02",null,"北环慢性病康复院区"]
[60,"X射线计算机体层摄影设备","Revolution ACTs","航卫通用电气医疗系统有限公司",null,null,"北环慢性病康复院区"]
[61,"数字化医用X射线摄影系统","KD—1800DR","上海新黄浦医疗器械有限公司","YZB/沪 6074—30—2014","150kV/630mA","盐山分院DR室"]
[62,"医用血管造影X射线机","ORX—7434  GFS","东芝",null,"125kV/1000mA","盐山分院介入室"]
[63,"医用C形臂X射线机","XHX500","新华","X5—081","100kV/100mA","盐山分院手术室"]
[64,"X射线计算机体层摄影设备","Revolution Ace ES","GE","082421070726","140kV/600mA","盐山分院CT二室"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}